**SBAAS**

|  |  |  |
| --- | --- | --- |
| **CERTIFICATE OF:**  (please mark relevant check box) | ✓ | **INSTALLATION AND COMPLIANCE** |
| ✓ | **TESTING AND COMPLIANCE** |

SMOKE ALARM COMPLIANCE

Property Details:

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Contact** |  | | |  | | |
| ***Title*** | ***Given Name/s*** | | | ***Surname*** | | |
| Address: | | | | | | |
| ✓ | Hardwired (240 Volt) AS 3786-2014 Photoelectric Smoke Alarms (without ionisation sensors) complete with a secondary power source and interconnected with every other smoke alarm in the dwelling so all activate together. | | | | | |
| ✓ | Non-removable 10-year battery: AS 3786-2014 Photoelectric Smoke Alarms (without ionisation sensors) interconnected with every other smoke alarm in the dwelling so all activate together. | | | | | |
| ✓ | Installed on each storey | | | | | |
| ✓ | Installed in each bedroom | | | | | |
| ✓ | In hallways which connect bedrooms and rest of dwelling, or no hallway, between bedrooms and other parts of storey | | | | | |
| ✓ | If no bedrooms on a storey, at least one alarm installed in the most likely path of travel to exit point to building | | | | | |
| ✓ | Operate when tested | | | | | |
| ✓ | (non-installation) Less than 10 years old | | | | | |
| **Location** | | **Brand/Model** | **Manufactured Date** | | **Power Source** | **Interconnection Method** | |
|  | |  |  | |  |  | |
|  | |  |  | |  |  | |
|  | |  |  | |  |  | |
|  | |  |  | |  |  | |
|  | |  |  | |  |  | |
|  | |  |  | |  |  | |
|  | |  |  | |  |  | |
|  | |  |  | |  |  | |
|  | |  |  | |  |  | |
|  | |  |  | |  |  | |

**Additional Notes:**

|  |  |
| --- | --- |
| ✓ | On the inspection date the smoke alarms at the inspection address **met all current requirements** |

Name of Contractor: Electrical contractor licence number:

|  |  |  |  |
| --- | --- | --- | --- |
| **Signature** |  | **Date** |  |